## Slide 1: Module 5 Advanced Topics in Cloud Computing
Energy Efficiency in Clouds, Market Based Management of Clouds

## Slide 2: Data Center Power Consumption
Data Center energy demand doubles every 5-6 years.
This results in large amounts of CO2 produced by burning fossil fuels.
Need to reduce the energy used with minimal performance impact.
Ref: Efficient Resource Management for Cloud Computing Environments, by Andrew J. Younge, Gregor von Laszewski, Lizhe Wang, Sonia Lopez-Alarcon, Warren Carithers

## Slide 3: Datacenters are new Polluters
U.S. data centers are using more electricity than they need. It takes 34 power plants, each capable of generating 500 megawatts of electricity, to power all the data centers in operation then.(2017)

## Slide 4: Datacenters are new Polluters
By 2020, the nation needed another 17 similarly sized power plants to meet projected data center energy demands as economic activity becomes increasingly digital.

## Slide 5: Datacenters are new Polluters
Lawrence Berkeley National Laboratory predicts that data center demand will grow
from 176 terawatt hours (TWh) in 2023 (or, about 4.4% of total U.S. electricity consumption) to
between 325-580 TWh (6.7-12.0%) by 2028.
In some parts of the country, AI-driven energy demand is outpacing available capacity, driving companies to delay projects, contract power directly from private producers, and/or install multiple, inefficient reciprocating generators using natural gas.
https://www.belfercenter.org/research-analysis/ai-data-centers-us-electric-grid?#in-this-section-nav-1

## Slide 6: Datacenters are new Polluters
Any increase in the use of fossil fuels to generate electricity will result in an increase in carbon emissions.

## Slide 7: Fossil Fuels?

## Slide 8: What are Fossil Fuels?
Formed over millions of years from the fossils, or remains, of dead animals and plants that were buried under dirt and rock.
Heat from inside the earth and pressure from dirt and rock changes these fossils into oil, natural gas and coal.

## Slide 9: What are Fossil Fuels?
There are three major forms of fossil fuels:
coal
oil
natural gas.
All three were formed many millions of years ago during the time of the dinosaurs.

## Slide 10: Why are Fossil Fuels IMP?
Due to rapid growth in AI and data centers, electricity demand is surging.
In the U.S., utilities are:
  Extending life of coal plants
  Building new natural gas plants

## Slide 11: Why are Fossil Fuels IMP?
Because it takes
  millions of years to make or “renew” more fossil fuels, we call them “nonrenewable fuels.”
  We are currently using the fuels that were made more than 65 million years ago.
Once this fuel is gone, it is gone.

## Slide 12: Typical Data Center Energy Consumption
Ref: Dzmitry Kliazovich, University of Luxembourg

## Slide 13: Impact of Cloud DC on Environment
Data centers are not only expensive to maintain, but also unfriendly to the environment.
Carbon emission due to Data Centers worldwide are now more than both Argentina and the Netherlands emission.

## Slide 14: Impact of Cloud DC on Environment
High energy costs and huge carbon footprints are incurred
  due to the massive amount of electricity needed to power and
  cool the numerous servers hosted in these data centers.

## Slide 15: Impact of Cloud DC on Environment
According to the McKinsey report on “Revolutionizing Data Center Energy Efficiency”, a typical datacenter consumes as much energy as 25,000 households.

## Slide 16: Warehouse-Scale Data-Center Design
Data-Center Construction Requirements
Cooling System of a Data-Center Room

## Slide 17: Data-Center Construction Requirements
Most data centers are built with commercially available components.
An off-the-shelf server consists of :
  a number of processor sockets,
  each with a multicore CPU and
  its internal cache hierarchy,
  local shared and coherent DRAM,
  a number of directly attached disk drives.
Off the shelf-not designed or made to order but taken from existing stock or supplies.

## Slide 18: Data-Center Construction Requirements
The DRAM and disk resources within the rack are accessible
  through first-level rack switches and
  all resources in all racks are accessible via a cluster-level switch
Consider a data center
  built with 2,000 servers,
  each with 8 GB of DRAM and
  four 1 TB disk drives.
  Each group of 40 servers is connected through a 1 Gbps link to a rack-level switch
  Each Rack switch has an additional eight 1 Gbps ports used for connecting the rack to the cluster-level switch.

## Slide 19: Cooling System of a Data-Center Room
The Figure shows the layout and cooling facility of a warehouse in a data center.
The data-center room has raised floors for hiding cables, power lines, and cooling supplies.

## Slide 20: Cooling System of a Data-Center Room
The raised floor has a steel grid resting on stanchions about 2–4 ft above the concrete floor.
The under-floor area is often used to route power cables to racks, but its primary use is to distribute cool air to the server rack.
Stanchion-frame/fixture to support other object

## Slide 21
The CRAC (computer room air conditioning) unit pressurizes the raised floor plenum by blowing cold air into the plenum.
The cold air escapes from the plenum through perforated tiles that are placed in front of server racks.
Cooling System of a Data-Center Room

## Slide 22
Racks are arranged in long aisles that alternate between cold aisles and hot aisles to avoid mixing hot and cold air.
Cooling System of a Data-Center Room

## Slide 23: Cooling System of a Data-Center Room
The hot air produced by the servers circulates back to the intakes of the CRAC units that cool it and then exhaust the cool air into the raised floor plenum again.
Typically, the incoming coolant is at 12–14°C and the warm coolant returns to a chiller.

## Slide 24
Cooling System of a Data-Center Room

## Slide 25: Green Computing ?
Advanced scheduling schemas to reduce energy consumption.
Power aware
Thermal aware
Data center designs to reduce Power Usage.
Cooling systems
Rack design

## Slide 26: Performance <-> Energy Efficiency
There is a need to shift focus from optimizing data center resource management for pure performance alone to
  optimizing for energy efficiency while maintaining high service level performance.

## Slide 27: Energy efficiency in clouds
Cloud service providers need to adopt measures to ensure that their profit margins are not dramatically reduced due to high energy costs.

## Slide 28: Alternatives
At the same time:
  Solar + wind energy are expanding rapidly
Many data center companies (like hyperscalers) are investing in clean energy

## Slide 29: Energy efficiency in clouds
According to Amazon’s estimate,
the energy- related costs of its datacenters amount to 42% of the total budget,
which includes both direct power consumption and the cooling infrastructure amortized over a 15-year period.
As a result, companies such as Google, Microsoft, and Yahoo! are building large datacenters in barren desert land surrounding the Columbia River in the United States to exploit cheap hydroelectric power.

## Slide 30: Energy efficiency in clouds
There is also increasing pressure from governments worldwide to reduce carbon footprints, which have a significant impact on climate change.
To address these concerns, leading IT vendors have recently formed a global consortium, called The Green Grid, to promote energy efficiency for datacenters and minimize their impact on the environment

## Slide 31: Energy efficiency in clouds
The Green Grid is a nonprofit, industry consortium of end-users, policy-makers, technology providers, facility architects, and utility companies collaborating to improve the resource efficiency of data centers.
https://www.thegreengrid.org/

## Slide 32: WUI v1 Scoring Calculator
The Water Usage Impact (WUI) v1 Metric is a proxy based on the environmental impact of Water consumed by a data center, in relationship to the Water Stress Level where the data center is located
https://www.thegreengrid.org/online-tools

## Slide 33: WUI v1 Scoring Calculator
What WUI actually means?
WUI (Water Usage Impact) measures the environmental impact of water used by a data center, considering how scarce water is in that location.
WUI shifts thinking from “How much water do we use?” → “How harmful is that usage?”

## Slide 34: WUI v1 Scoring Calculator
The calculator provided by The Green Grid:
Takes:
  Water consumption data
  Location (to assign stress factor)
Outputs:
  WUI score (impact level)
Used by:
Data center designers
Sustainability analysts

## Slide 35: Coolant Distribution Unit (CDU) v2 Sizing Tool
This tool is designed to size a Coolant Distribution Unit (CDU) for a direct-to-chip liquid cooling system. It calculates the necessary fluid temperature, total flow rate, and total pressure drop across cold plates in a cooling loop.
This serves as a preliminary guide to facilitate better understanding and communication between buyers and sellers, helping to reduce the learning curve and bridge the knowledge gap in selecting the appropriate CDU for a server.
https://www.thegreengrid.org/online-tools

## Slide 36: Energy efficiency in clouds
Green cloud computing is envisioned to achieve not only efficient processing and utilization of computing infrastructure but also minimize energy consumption. This is essential for ensuring that the future growth of cloud computing is sustainable
Cloud resources need to be allocated not only to satisfy QoS requirements specified by users via service-level agreements (SLAs) but also to reduce energy usage.

## Slide 37: Energy efficiency in clouds
There is also increasing pressure from governments worldwide to reduce carbon footprints, which have a significant impact on climate change.
To address these concerns, leading IT vendors have recently formed a global consortium, called The Green Grid, to promote energy efficiency for datacenters and minimize their impact on the environment

## Slide 38: Energy Consumption of Unused Servers
To run a server farm (data center) a company has to spend a huge amount of money for hardware, software, operational support, and energy every year.
Companies should thoroughly identify whether their installed server farm are appropriately utilized.

## Slide 39: Energy Consumption of Unused Servers
On average, one-sixth (15 percent) of the full-time servers in a company are left powered on without being actively used (i.e., they are idling) on a daily basis.
This indicates that with 44 million servers in the world, around 4.7 million servers are not doing any useful work.
The potential savings in turning off these servers are large.
IT departments need to analyze their servers and find out unused or underutilized servers.
STats

## Slide 40: Reducing Energy in Active Servers
Apply appropriate techniques to decrease energy consumption in active distributed systems with negligible influence on their performance.
Power management issues in distributed computing platforms can be categorized into four layers:
  application layer
  middleware layer
  resource layer
  network layer.

## Slide 42: Application Layer
An application’s energy consumption depends strongly on:
  no of instructions needed to execute the application
  no of transactions with the storage unit (or memory).
These two factors (compute and storage) are correlated and they affect completion time.

## Slide 43: Application Layer
By introducing energy-aware applications, the challenge is to design applications without hurting performance.
The first step is-
  “To explore a relationship between performance and energy consumption”.

## Slide 44: Middleware Layer
Bridge between Application Layer and the resource layer.
This Layer provides:
  Resource broker
  Communication service
  Task analyzer
  Task scheduler
  Security access
  Reliability control
  Information Service

## Slide 45: Middleware Layer
Necessity of a new cost function covering both
  makespan i.e. the execution time of a set of tasks and
  energy consumption.

## Slide 46: Resource Layer
Consists of a wide range of resources including
  computing nodes and
  storage units.
Interacts with hardware devices and the operating system.
Several mechanisms have been developed for
  more efficient power management of hardware and operating systems.

## Slide 47: Resource Layer
Hardware Approaches:-
Dynamic power management (DPM)
Dynamic voltage-frequency scaling (DVFS)
Popular methods incorporated into recent computer hardware systems.

## Slide 48: Resource Layer- DPM
Dynamic power management (DPM)
In DPM, hardware devices, such as the CPU, have the capability to-
“Switch from idle mode to one or more lower power modes”

## Slide 49: Resource Layer- DVFS
Dynamic voltage-frequency scaling (DVFS)
In DVFS, energy savings are achieved based on the fact that the power consumption in CMOS circuits has a direct relationship with frequency and the square of the voltage supply.

## Slide 50: Resource Layer- DVFS
The relationship between energy ,voltage ,frequency in CMOS circuits is related by:
where
  V= voltage
  Ceff= circuit switching capacity
  K= a technology dependent factor
  Vt= threshold voltage
  T= execution time of the task under clock frequency f.

## Slide 51: Resource Layer- DVFS
Execution time and power consumption are controllable by-
“Switching among different frequencies and voltages”

## Slide 52: DVFS
The DVFS method enables the exploitation of the slack time (idle time) typically incurred by intertask relationship.
  Reducing the frequency or voltage during slack time.
By reducing voltage and frequency, the device’s energy consumption can also be reduced.

## Slide 53: Network Layer
Routing and transferring packets
Enabling network services to the resource layer are the main responsibility of the network layer in Distributed Computing Systems.

## Slide 54: Network Layer
Two major challenges are :
  New, energy-efficient routing algorithms need to be developed.
  New, energy-efficient protocols should be developed against network attacks.

## Slide 55: A reference model for MOCC
Market-oriented cloud computing originated from the coordination of several components:
service consumers,
service providers, and
other entities that make trading between these two groups possible.

## Slide 56: A reference model for MOCC
Several components contribute to the realization of the Cloud Exchange and implement its features.

## Slide 57: A reference model for MOCC
Directory:-
The market directory contains a listing of all the published services that are available
The directory not only contains a simple mapping between service Names and the corresponding vendor (or cloud coordinators) offering them.

## Slide 58: A reference model for MOCC
Directory:-
It also provides Additional meta data that can help the brokers or the end users in filtering from among the services of interest those that can really meet the expected quality of service.

## Slide 59: A reference model for MOCC
Auctioneer
The auctioneer is incharge of keeping track of the running auctions in the market place and of verifying that the auctions for services are properly conducted and that malicious market players are prevented from performing illegal activities

## Slide 60: A reference model for MOCC
Bank
The bank is the component that takes care of the financial aspect of all the operations happening in the virtual marketplace.
It also ensures that all the financial transactions are carried out in a secure and dependable environment.
Consumers and providers may register with the bank and have one or multiple accounts that can be used to perform the transactions in the virtual marketplace

## Slide 61: A reference model for MOCC
CEx
The fundamental component is the virtual marketplace—represented by the Cloud Exchange(CEx)—which acts as a market maker, bringing service producers and consumers together.

## Slide 62: A reference model for MOCC
Cloud Broker
The cloud brokers operate on behalf of the consumers and identify the subset of services that match customers’ requirements in terms of service profiles and quality of service.

## Slide 63: A reference model for MOCC
Cloud Broker
They mediate between coordinators and consumers by acquiring services from the first and subleasing them to the latter.
Brokers can accept requests from many users. At the same time, users can leverage different brokers.

## Slide 64: A reference model for MOCC
Cloud Coordinators
The cloud coordinators represent the cloud vendors and publish the services that vendors offer.
A similar relationship can be considered between coordinators and cloud computing services vendors.

## Slide 65: A reference model for MOCC
Cloud Coordinators
Coordinators take responsibility for publishing and advertising services on behalf of vendors and can gain benefits from reselling services to brokers.

## Slide 66: Market-Oriented Cloud Architecture for Data Centers

## Slide 67: Market-Oriented Cloud Architecture
As consumers rely on cloud providers to meet more of their computing needs,
  they will require a specific level of QoS to be maintained by their providers.
Cloud providers consider and meet the different QoS parameters of each individual consumer as negotiated in specific SLAs.

## Slide 68: Market-Oriented Cloud Architecture
The purpose is to promote QoS-based resource allocation mechanisms.
  Clients can benefit from the potential cost reduction of providers,
  which could lead to a more competitive market,
  and thus lower prices.

## Slide 69: Market-Oriented Cloud Architecture
Users or brokers acting on user’s behalf submit service requests from anywhere in the world to the data center and cloud to be processed.
They originate the workload that is managed in the cloud datacenter.

## Slide 70: Market-Oriented Cloud Architecture
SLA resource allocator-
Acts as the interface between the data center, cloud service provider and external users/brokers.
Its main responsibility is ensuring that service requests are satisfied according to the SLA agreed to with the user.
Several components coordinate allocator activities in order to realize this goal

## Slide 71: Market-Oriented Cloud Architecture
Service Request Examiner and Admission Control Module-
When a service request is first submitted
  the service request examiner interprets the submitted request for QoS requirements
  before determining whether to accept or reject the request.

## Slide 72: Market-Oriented Cloud Architecture
Service Request Examiner and Admission Control Module-
This module operates in the front-end and filters user and broker requests in order to accept those that are feasible given the current status of the system and the workload that is already being processed.
Accepted requests are allocated and scheduled for execution.

## Slide 73: Market-Oriented Cloud Architecture
The Pricing mechanism decides how service requests are charged.
This module is responsible for charging users according to the SLA they signed.
Different parameters can be considered in charging users; for instance, the most common case for IaaS providers is to charge according to the characteristics of the virtual machines requested in terms of memory, disk size, computing capacity, and the time they are used.

## Slide 74: Market-Oriented Cloud Architecture
The Accounting mechanism maintains the actual usage of resources by requests so that the final cost can be computed and charged to users.
It stores the billing information for each user.
In addition, they constitute a rich source of information that can be mined to identify usage trends and improve the vendor’s service offering.

## Slide 75: Market-Oriented Cloud Architecture
Dispatcher-
This component is responsible for the low-level operations that are required to realize admitted service requests.
The Dispatcher mechanism starts the execution of accepted service requests on allocated VMs.

## Slide 76: Market-Oriented Cloud Architecture
Dispatcher-
In an IaaS scenario, this module instructs the infrastructure to deploy as many virtual machines as are needed to satisfy a user’s request.

## Slide 77: Market-Oriented Cloud Architecture
VM Monitor-
The VM Monitor mechanism keeps track of the availability of VMs and their resource entitlements.

## Slide 78: Market-Oriented Cloud Architecture
The Service Request Monitor mechanism keeps track of the execution progress of service requests.
The information collected through the Service Request Monitor is helpful for analyzing system performance and for providing quality feedback about the provider’s capability to satisfy requests.
Multiple VMs can be started and stopped on demand on a single physical machine.